RANDOLPH COUNTY HEALTH DEPARTMENT

ON-SITE SEWAGE TREATMENT SYSTEM APPLICATION FORM

APPLICATION NUMBER___________________________

INSTRUCTIONS

The Randolph County Health Department is required by law to regulate the design and construction of on-site sewage treatment systems.  This packet contains forms and instructions to assist you in selecting an on-site sewage treatment system that will comply with the State Standards.

Within this packet you will find:

- The Application form.

- The fee form.

GENERAL INFORMATION

Licensed Soil Evaluator and Installer listings can be found at www.dhss.mo.gov/Onsite/Professionals

A copy of the Randolph County On-Site Wastewater Ordinance can be found at www.randolphcountyhealth.org  under Environmental Services

Upon receipt of this packet, contact a registered soil evaluator to conduct a soil morphology within the area to be used for on-site sewage treatment.  The soil morphology report is the basis for the type of system and its size.  It is highly recommended that you or your contractor lay out where you intend to place the on-site sewage system prior to ANY construction on the property to assure that there is adequate area to meet required set-back distances and also to assure that heavy equipment will not enter that area.

Once the soil evaluator has submitted his report, complete the Application form (your contractor or health department representative can assist you with this) and return it with a copy of the soil report, the fee form and fee, and all necessary drawings to the Randolph County Health Department. Upon receipt and review of the completed application, a health department representative will schedule a site visit.  Your contractor must be present during the site visit.  If the results of the site visit and plan review are satisfactory, a construction permit will be issued to you or your contractor and construction may begin.  In the event that the plan is not accepted by the regulatory authority, it is your right to request a hearing by the Review Board.  Requests must be submitted in writing, to the Regulatory Authority, within 10 days of receipt of the report from the Regulatory Authority stating why the plan was not accepted.

Contractors must notify the Health Department 24 hours prior to the planned installation date at 660-263-6643 or in person.  If a representative from the Health Department has not arrived at the site prior to 3:00 pm on the scheduled date, the contractor may cover the system and sign a waiver of proper construction provided by the Health Department.

Upon completion of the on-site sewage system a Final Inspection/Approval report will be issued to the homeowner.  In the event that the system installed does not adhere to the plan submitted to the Health Department or does not comply with the State Standard, a letter of non-compliance will be issued which will list any and all defects to be corrected.  A follow-up inspection will be made upon resolution of the defects, and the Final Inspection/Approval shall be issued.

***NOTE:  On-site waste stabilization lagoons are required to be fenced prior to occupancy.

***NOTE:  On-site waste stabilization lagoons are required to be preceded by a septic or aeration tank under the following conditions:

- The property is 10 acres or less in size.

- The property is in a subdivision.

- There is a garbage disposal (grinder) planned for the home.

Randolph County Health Department

Application for Construction of On-Site Sewage Treatment System

1.______________________________________________________________________

Property Owner Name  Last		First			MI

2.______________________________________________________________________

Site Address

______________________________________________________________________

City				Zip Code	  Latitude		Longitude

3.______________________________________________________________________

Legal Description ( ¼            ¼ 		Section		Range		Township)

4.______________________________________________________________________

Current Mailing Address					Phone

________________________________________________________________________

City				State					Zip Code

5.  System is:  	New Construction	System Replacement		System Repair

6.  System Serves:  Residence/ Business /Part-time Use     Daily Sewage Flow______

Gpd

Number of Bedrooms:		Garbage Disposal:		Whirlpool Tub:

Dishwasher				Laundry Facility (commercial)

7.  Water Supply:	Public_________________		Private__________________

Name of Supply			             Type

8. Property Size:____________		____________             _____________

acres				Square feet		% slope & direction

9.  Lender:____________________________________________________________

name                                                 address

10. Insurance Company:_________________________________________________

name                                           address

__________________________________________________

Agent                                          telephone number

11. Attach Soil Morphology report.

Email Address:___________________________________________________

PROPOSED SYSTEM INFORMATION

Complete only the information for the system you plan to construct

- Waste Stabilization Lagoon (in subdivisions, aeration tank must precede lagoon)(Lagoon size is based on 440 Sq. Ft. /bedroom-addition of a septic tank allows a 20% reduction in lagoon size)

Dimensions:_______________	Depth:________    Surface Area_________

Pond Seal:______________________________________________________

Type Equipment used to compact Soil:_______________________________

Size of Tank( if required)_____________________gallons

Tank Material/Manufacturer__________________________________

- Conventional Septic Tank and Absorption Field System

Septic Tank:__________________    NSF Aeration Tank________________

Gallons					    Gallons

Manufacturer:___________________________________________________

Construction Material:____________________________________________

Distribution Box Manufacturer:_____________________________________

Distribution Box Material:_________________________________________

Type Layout	Flat________			Serial_______

Will system be dosed?	Yes______	No_______

Type of Material in Trenches/Manufacturer:					       Chambers_________________________________________

Gravelless Pipe____________________________________

Other____________________________________________

Trench Length(s)___________feet	Number of Trenches____________

Trench Depth______________      Trench Width__________________

Distances from:	Well:______ft  House:______ft.  Water Line:_________ft.

Property Line:____________ft.     Neighbor’s Well:___________________ft.

Stream_______  Pond_______  River________  Sinkhole_________

- Alternative System: Attach Registered Engineer Plans with all components of system and layout, supporting data, calculations and drawings.

Low Pressure Pipe_________	Sand Filter_________     Mound_________

Drip Irrigation_________		Wetlands__________	    Other___________

Specify

- Installer Name__________________________________________________

ID Number__________	Phone____________________________________

Address:_______________________________________________________

______________________________________________________________

All information contained in and with this application packet is true and accurate to the best of my knowledge.

_________________________________________	______________________

Signature of Owner/Agent				Date

Attach a Site Layout showing the following:

- Property lines and dimensions to reflect shape and size of property.

- Diagram Proposed system.  Show appropriate elevations to indicate proper fall for system.

- Distances to house, well, water lines, property lines, geologic features (sinkholes, rock outcroppings, lakes, ponds, streams, rivers, etc.)

- Show distances to neighbor’s wells, homes, and sewage treatment systems.

- Show where soil test was made.  These must be flagged on the property for the site evaluation.

- Show any easements for utilities, roads, private driveways, or other easements.

Attach a Slope Diagram showing the percent slope on the diagram, if applicable.

RANDOLPH COUNTY HEALTH DEPARTMENT

ON-SITE CONSTRUCTION APPLICATION FEE FORM

Date:____________________	Application Number:___________________

Name of Property Owner:_____________________________________________

Address of Construction Site:__________________________________________

__________________________________________________________________

Mailing Address:____________________________________________________

Telephone Number (s):________________________________________________

NON-REUNDABLE APPLICATION FEE      $150.00

Make checks or money orders payable to:

Randolph County Health Department

Environmental Health Services

PO Box 488

Moberly, MO  65270

SITE LAYOUT

Show property lines and dimensions.  Diagram the proposed system and stake it on the property for the Site Evaluation.  Show distances to house, well, waterlines, property lines, geologic features( sinkholes, rock outcroppings, lakes, ponds, streams, etc.)  Show distances to neighbor’s homes, well, sewage disposal systems.  Show location of soil test.  Show known easements for utilities, roads, private driveways, etc.